## Table_1
<b>Room</b> | <b>End-use</b> | <b>Water flow or capacity</b> | <b>Maximum time of use</b> | <b>Minimum time of use</b> | <b>Average time of use</b>
Bathroom 1 | Toilet flushing | 0.76 l/s | 9s | 2s | 6s
| Tap | 0.05 l/s | 2min6s | 9s | 36s
| Shower | 2.7 l/min | 14min | 5min | 7min42s
Bathroom 2 | Toilet flushing | 0.76 l/s | 20s | 4s | 9s
| Tap | 0.06 l/s | 5min03s | 16s | 49s
Bathroom 3 | Toilet flushing | 0.76 l/s | 40s | 6s | 18s
| Tap | 0.05 l/s | 4min | 36s | 1min44s
| Shower | 4.8 l/min | 26min58s | 4min58s | 15min32s
Kitchen | Cooking | 4.5 l/min | 3min03s | 27s | 1min25s
| Washing dishes | 4.5 l/min | 20min10s | 5min56s | 12min48s
| Drinking | 4.5 l/min | 2min37s | 40s | 1min20s
Laundry | Tap | 0.07 l/s | 1min40s | 36s | 1min07s
| Washing machine | 70 l/cycle | 2.5 cycles | 1 cycle | 1.5 cycles
| Bucket | 8 l | 21 buckets | 1.46 litres (measured) | 7 buckets